ImageJ Software Fluorescence Measurements

- Download ImageJ freeware from http://rsbweb.nih.gov/ij/download.html

- Once downloaded, open the software and select “Analyze” from the menu, then “Set Measurements”.

- Make sure that only “Area” and “Integrated Density” are checked.

    - Integrated Density is the measurement for pixel intensity and is therefore the measurement for intensity of fluorescence.

- Open the pictures to be analyzed using “File” ( “Open”

- In the ImageJ toolbar be sure that either the square or circle icon are selected on the far left of the toolbar.

    - This is the selection tool and will allow you to select the area to be analyzed on the image.

- Using the selection tool select an area on the image to be analyzed.

- Select “Analyze” ( “Measure”

    - A box will appear with a readout of the selected area and integrated density.

- Repeat steps 6 & 7 for the other images to be analyzed and adjust the selection box to match the area of the first image.

    - This is a “guess and check” process, adjust the box to what appears to be the same size and then “Measure” to obtain and check the selected area.