Use of sterile NuAire hood in HS215

To sterilize the hood:

About 20 minutes before use, turn the hood on, using the top switch under the LightGuard Control Center.

Wipe surfaces with 70% ethanol.

Turn on the UV light for several minutes, by flicking the Lights switch down.

Put up “Caution: UV Light” sign.

To use the hood:

Turn on the work lights by flicking the Lights switch up (and remove UV light sign).

Work in the center of the hood.

Never open sterile pipette tip boxes outside of hood or when hood is not on.

When finished working, wipe surfaces with 70% ethanol.

Turn hood off.