Dishwashing

Wash dishes as soon as possible after use.  Do NOT leave dirty dishes in the sink!

Use a small amount of Alconox/cleanser and a brush to clean glass and plasticware.

Rinse 4-5 times with hot regular tap water.

Rinse 4-5 times with deionized tap water.

Allow to dry and return.

Use of Barnstead E-Pure Water Deionizer

To obtain “molecular biology” ready, double deionized water:

Open the water source by turning the silver water valve (top, left).

Turn green Power switch ON.

When the digital gauge reads 18 megohm-cm, the system is ready.

Start water flow by opening the black valve, below the digital read out.

Stop water flow by closing black valve, below the digital read out.

Turn the green Power switch OFF.

Close the silver water valve (top, left).